## BM-SS
Battery Monitoring System
BTMS commissioning table - BM-SS
|  |  |  | v 1.0 | Remarks
BM-SS BTMS STRING MASTER SETTINGS
Project:
Location:
Prepared by:
Company:
Date:
Unique string identifier:
UPS identifier:
String index relative to UPS:
BATTERY / CELL INFO
Manufacturer:
Type:
Count:
Capacity: |  | Ah
Nominal voltage: |  | V
Reference internal resistance: |  | mΩ
Cut-off voltage: |  | V
Recovery voltage: |  | V
Float voltage: |  | V
Float current: |  | A
Internal resistance correction: |  | mΩ
| alarm | recovery
Voltage alarm upper limit: |  |  | V
Voltage lower limit: |  |  | V
Resistance upper limit: |  |  | mΩ
SOC lower limit: |  |  | %
SOH lower limit: |  |  | %
Temperature upper limit: |  |  | °C
STRING INFO
Resistance measuring interval: |  | h
| alarm | recovery
Charging current limit: |  |  | A
Discharging current limit: |  |  | A
Voltage upper limit: |  |  | V
Voltage lower limit: |  |  | V
SOC lower limit: |  |  | %
BM-HS Hall (Current) sensor info
Type:
Nominal current: |  | A
Balancing settings
Balancing enabled:
Target balance: |  | %
Interval time: |  | s
Comunication settings
RS485 address: |  |  |  |  | 10 ... 17
RS485 baud rate: | 38400 | bps |  |  | 38400
LAN IP address: |  |  |  |  | 192.168.10.100 - 192.168.10.131
LAN Subnet mask |  |  |  |  | 255.255.255.0
LAN Gateway: |  |  |  |  | 192.168.10.1
Legend
completed by the client
completed by the commissioning engineer

## BM-GW
Battery Monitoring System
BTMS commissioning table BM-GW
|  |  | v 1.0 | Remarks
BM-GW BTMS GATEWAY SETTINGS
Project:
Location:
Prepared by:
Company:
Date:
Communication settings
LAN1 IP address: |  |  |  | Network settings within facility LAN
LAN1 Subnet mask:
LAN1 Gateway:
LAN2 IP address:
LAN2 Subnet mask:
LAN2 Gateway:
Strilg list
| UPS ID | STRING idx | IP
#1 |  |  | 192.168.10.100
#2 |  |  | 192.168.10.101
#3 |  |  | 192.168.10.102
#4 |  |  | 192.168.10.103
#5 |  |  | 192.168.10.104
#6 |  |  | 192.168.10.105
#7 |  |  | 192.168.10.106
#8 |  |  | 192.168.10.107
#9 |  |  | 192.168.10.108
#10 |  |  | 192.168.10.109
#11 |  |  | 192.168.10.110
#12 |  |  | 192.168.10.111
#13 |  |  | 192.168.10.112
#14 |  |  | 192.168.10.113
#15 |  |  | 192.168.10.114
#16 |  |  | 192.168.10.115
#17 |  |  | 192.168.10.116
#18 |  |  | 192.168.10.117
#19 |  |  | 192.168.10.118
#20 |  |  | 192.168.10.119
#21 |  |  | 192.168.10.120
#22 |  |  | 192.168.10.121
#23 |  |  | 192.168.10.122
#24 |  |  | 192.168.10.123
#25 |  |  | 192.168.10.124
#26 |  |  | 192.168.10.125
#27 |  |  | 192.168.10.126
#28 |  |  | 192.168.10.127
#29 |  |  | 192.168.10.128
#30 |  |  | 192.168.10.129
#31 |  |  | 192.168.10.130
#32 |  |  | 192.168.10.131
Legend
completed by the client
completed by the commissioning engineer